## Swab Control
Validation results by MRNDx Analytics | Reproducibility - MRNDx swab controls have 100% agreement over 5-day precision testing
| Day 1 |  | Day 2 |  | Day 3 |  | Day 4 |  | Day 5
Swab QC type | Rep (n) | % Agreement | Rep (n) | % Agreement | Rep (n) | % Agreement | Rep (n) | % Agreement | Rep (n) | % Agreement
Negative | n = 30 | 100% non-detected | n = 30 | 100% non-detected | n = 30 | 100% non-detected | n = 30 | 100% non-detected | n = 30 | 100% non-detected
SARS | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected
Flu A/B - Multiplex | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected
Validation results by MRNDx Analytics | Freeze/Thaw stability - MRNDx swab controls are stable after 3 freeze/thaw cycles
| Cycle 1 |  | Cycle 2 |  | Cycle 3
Swab QC type | Rep (n) | % Agreement | Rep (n) | % Agreement | Rep (n) | % Agreement
Negative | n = 30 | 100% non-detected | n = 30 | 100% non-detected | n = 30 | 100% non-detected
SARS | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected
Flu A/B - Multiplex | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected
Validation results by MRNDx Analytics | Shelf-life - MRNDx swab controls are stable for at least 6 months at room temperature
| 2 weeks |  | 1 month |  | 2 months |  | 6 months
Swab QC type | Rep (n) | % Agreement | Rep (n) | % Agreement | Rep (n) | % Agreement | Rep (n) | % Agreement
Negative | n = 30 | 100% non-detected | n = 30 | 100% non-detected | n = 30 | 100% non-detected | n = 30 | 100% non-detected
SARS | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected
Flu A/B - Multiplex | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected | n = 30 | 100% detected
Product offerings
Organism | Format |  | Strain
Influenza A | Liquid/Swab QC, Training panel, Verification panel, Linearity panel, LOD panel |  | Avail. upon request
Influenza B | Liquid/Swab QC, Training panel, Verification panel, Linearity panel, LOD panel |  | Avail. upon request
SARS-CoV-2 | Liquid/Swab QC, Training panel, Verification panel, Linearity panel, LOD panel |  | Avail. upon request
Human RSV | Liquid/Swab QC, Training panel, Verification panel, Linearity panel, LOD panel |  | Avail. upon request
Multiplex controls | Liquid/Swab QC, Training panel, Verification panel, Linearity panel, LOD panel |  | Avail. upon request

## Serology liquid Control
MRNDx serology controls have up to 65 days of open-vial stabilitty
Time Point | MRNDx Negative SARS-CoV-2 serology | [5 empty] | MRNDx Positive SARS-CoV-2 serology
| Rep | Vial 1 | Vial 2 | Vial 3 | Ave. | % Shift from Baseline | Vial 1 | Vial 2 | Vial 3 | Ave. | % Shift from Baseline
14 Day | 1 | 0.23 | 0.22 | 0.21 | 0.22111 | 1.895% | 2.36 | 2.19 | 2.28 | 2.2833 | 2.129%
| 2 | 0.22 | 0.22 | 0.23 |  |  | 2.36 | 2.28 | 2.28
| 3 | 0.22 | 0.22 | 0.22 |  |  | 2.22 | 2.34 | 2.24
21 Day | 1 | 0.22 | 0.21 | 0.22 | 0.21667 | 0.1536% | 2.2 | 2.3 | 2.32 | 2.2444 | 3.796%
| 2 | 0.19 | 0.22 | 0.22 |  |  | 2.24 | 2.18 | 2.28
| 3 | 0.22 | 0.23 | 0.22 |  |  | 2.19 | 2.22 | 2.27
25 Day | 1 | 0.23 | 0.22 | 0.22 | 0.21778 | 0.3584% | 2.2 | 2.27 | 2.24 | 2.2422 | 3.891%
| 2 | 0.23 | 0.21 | 0.21 |  |  | 2.25 | 2.25 | 2.16
| 3 | 0.21 | 0.22 | 0.21 |  |  | 2.3 | 2.29 | 2.22
45 Day | 1 | 0.23 | 0.21 | 0.22 | 0.22111 | 1.895% | 2.37 | 2.27 | 2.25 | 2.3 | 1.414%
| 2 | 0.22 | 0.22 | 0.22 |  |  | 2.42 | 2.25 | 2.3
| 3 | 0.23 | 0.22 | 0.22 |  |  | 2.36 | 2.2 | 2.28
60 Day | 1 | 0.25 | 0.23 | 0.23 | 0.23 | 5.991% | 2.29 | 2.33 | 2.26 | 2.3 | 1.414%
| 2 | 0.23 | 0.23 | 0.24 |  |  | 2.38 | 2.32 | 2.28
| 3 | 0.22 | 0.22 | 0.22 |  |  | 2.27 | 2.31 | 2.26
65 Day | 1 | 0.24 | 0.23 | 0.24 | 0.23111 | 6.503% | 2.3 | 2.36 | 2.26 | 2.2978 | 1.51%
| 2 | 0.23 | 0.24 | 0.22 |  |  | 2.25 | 2.27 | 2.28
| 3 | 0.23 | 0.22 | 0.23 |  |  | 2.34 | 2.38 | 2.24
MRNDx serology controls have up to 2 years of shelf life
Time Point | MRNDx Negative SARS-CoV-2 serology | [5 empty] | MRNDx Positive SARS-CoV-2 serology
| Rep | Vial 1 | Vial 2 | Vial 3 | Ave. | % Shift from Baseline | Vial 1 | Vial 2 | Vial 3 | Ave. | % Shift from Baseline
1 month | 1 | 0.22 | 0.22 | 0.22 | 0.21778 | 0.3584% | 2.26 | 2.24 | 2.19 | 2.2844 | -2.081%
1 month | 2 | 0.21 | 0.21 | 0.22 | 0.21778 | 0.3584% | 2.38 | 2.29 | 2.32 | 2.2844 | -2.081%
1 month | 3 | 0.21 | 0.22 | 0.23 | 0.21778 | 0.3584% | 2.22 | 2.4 | 2.26 | 2.2844 | -2.081%
2 months | 1 | 0.23 | 0.22 | 0.23 | 0.22333 | 2.919% | 2.13 | 2.34 | 2.1 | 2.2067 | -5.415%
2 months | 2 | 0.23 | 0.22 | 0.22 | 0.22333 | 2.919% | 2.29 | 2.33 | 2.14 | 2.2067 | -5.415%
2 months | 3 | 0.22 | 0.22 | 0.22 | 0.22333 | 2.919% | 2.12 | 2.28 | 2.13 | 2.2067 | -5.415%
3 months | 1 | 0.23 | 0.23 | 0.22 | 0.22556 | 3.943% | 2.26 | 2.26 | 2.24 | 2.2722 | -2.605%
3 months | 2 | 0.23 | 0.22 | 0.23 | 0.22556 | 3.943% | 2.26 | 2.32 | 2.31 | 2.2722 | -2.605%
3 months | 3 | 0.23 | 0.21 | 0.23 | 0.22556 | 3.943% | 2.27 | 2.27 | 2.26 | 2.2722 | -2.605%
6 months | 1 | 0.23 | 0.24 | 0.22 | 0.21889 | 0.8705% | 2.41 | 2.3 | 2.39 | 2.2944 | -1.653%
6 months | 2 | 0.19 | 0.21 | 0.22 | 0.21889 | 0.8705% | 2.29 | 2.25 | 2.26 | 2.2944 | -1.653%
6 months | 3 | 0.22 | 0.22 | 0.22 | 0.21889 | 0.8705% | 2.29 | 2.25 | 2.21 | 2.2944 | -1.653%
13 months | 1 | 0.2 | 0.23 | 0.2 | 0.21111 | -2.714% | 2.4 | 2.19 | 2.19 | 2.1911 | -6.082%
13 months | 2 | 0.19 | 0.21 | 0.22 | 0.21111 | -2.714% | 2.14 | 2.16 | 2.1 | 2.1911 | -6.082%
13 months | 3 | 0.2 | 0.24 | 0.21 | 0.21111 | -2.714% | 2.19 | 2.21 | 2.14 | 2.1911 | -6.082%
25 months | 1 | 0.22 | 0.21 | 0.2 | 0.21444 | -1.178% | 2.05 | 2.01 | 2.14 | 2.1056 | -9.749%
25 months | 2 | 0.22 | 0.23 | 0.21 | 0.21444 | -1.178% | 2.15 | 2.16 | 2.14 | 2.1056 | -9.749%
25 months | 3 | 0.22 | 0.2 | 0.22 | 0.21444 | -1.178% | 2.07 | 2.06 | 2.17 | 2.1056 | -9.749%
Product offerings
| Antigen |  | Format
| SARS-CoV-2 |  | Liquid QC, Verification panel, Seroconversion panel
| HIV 1/2 |  | Liquid QC, Verification panel
| SYPH |  | Liquid QC, Verification panel
| Hepatitis B |  | Liquid QC, Verification panel
| Hepatitis C |  | Liquid QC, Verification panel